## Slide 1
Development (3-4 years)
Construction (6-12 months)
Operation (>25 years)
Commissioning
Provisional Acceptance
Certificate (PAC)
Final owner take-over
Final Acceptance
Certificate (FAC)
2 year EPC warranty period
0 1 2 3 4 5 6 7 8 9 10 15 20 25 years

## Slide 2
DEVELOPMENT
Concept development and site identification
Basic technical design
Feasibility analysis and economical optimization
Detailed technical Design
MILESTONES
ENGINEERING, PROCUREMENT, CONSTRUCTION
Engineering
Procurement
Construction:
Civil works
Mechanical works
Electrical works
Commissioning
MILESTONES
Cold and hot commissioning
Provisional Acceptance Certificate (PAC)
Final Acceptance Certificate (FAC)
OPERATION
Remote supervision
Preventive maintenance
Corrective maintenance
MILESTONES

## Slide 6
combiner box
String of PV modules
LV/MV transformer
MV/HV transformer
grid connection
MV internal grid
Supervisory control and data acquisition
SCADA
main DC wire
=
inverter
=
Weather station

## Slide 7
combiner box
string of PV modules
LV/MV transformer
=
=
=
string inverters central inverter
=
inverter